Bilateral Pitting Oedema                                       [All ages]

*Bilateral pitting oedema, or kwashiorkor, usually starts in the feet and ankles. Oedema in only one foot is not of nutritional origin.

1Hold the child’s feet and press thumbs on top of both feet.  Count to 3 and then lift your thumbs.  If no pit shows or if a pit only shows in one foot, the child does not have bilateral pitting oedema.  If a pit shows in both feet, go to Step 2.

2Continue the same test on the lower legs, hands and lower arms.  If no pitting appears in these areas, then the child is said to have Grade + or mild bilateral pitting oedema.  Mild bilateral pitting oedema only shows in the feet.  If pitting appears in these areas, go to Step 3.

3Look for swelling in the face, especially around the eyes.  If no swelling appears in the face, then the child is said to have Grade ++, or moderate, bilateral pitting oedema.  If swelling appears in the face, the child is said to have Grade +++ or severe bilateral pitting oedema.

4 Have a second person repeat the test to confirm results.

MUAC (without aid)   [6-59 months]

1

Have the person bend his/her left arm to 90 degree angle. Determine both the top of the shoulder and the tip of the elbow bone, and put the startpoint of the MUAC tape to top of shoulder and mark the distance to the tip of elbow placing the right thumb on the tape (endpoint).

2Find the middle of the upper arm, by carefully folding the endpoint to the startpoint of the MUAC tape and place the left thumb on the mid-point of the folded ends of the tape

3With the person’s arm relaxed and falling alongside his/her body, wrap MUAC tape around the arm at the mid-point. There shouldn’t be any space between the skin and tape, but don’t wrap the tape too tight.

4Read MUAC in millimeters (mm), centimeters (cm) or in color (red, yellow, green) from middle window exactly where arrows point inward. MUAC is recorded with a precision of 1 mm (0.1 cm).

MUAC (with pen & string)                                                [6-59 months]

1

MUAC is always taken on the left arm. Measure the length of the person’s left upper arm, between the bone at the top of the shoulder and the tip of the elbow bone (the arm should be bent).

2Fold the end points of the string together on the shoulder top and mark the middle of the person’s upper arm with a pen.

3With the person’s arm relaxed and falling alongside his/her body, wrap the MUAC tape around the arm at the mid-point. There shouldn’t be any space between the skin and tape, but don’t wrap the tape too tight. For numbered tapes, feed the end of the tape down through the first opening and up through the third opening. For the simple three-color tape (red, yellow, green), slide the end through the first opening and then through the second opening.

4Read the measurement from the middle window where the two arrows meet.  Depending on the tape used, the measurement will be in millimeters (mm), centimeters (cm) or in color (red, yellow, green). MUAC is recorded with a precision of 1 mm (0.1 cm).

Measure Using Length Board [Under 2 years OR height below 87 cm]

1 Place height board on the ground and remove child’s shoes.

2 Place child on his/her back in middle of board, head facing straight up, arms at child’s sides and feet at right angles to board.

3 While holding child’s ankles or knees, move sliding board up against bottom of child’s feet.

4  Take measurement to nearest 0.1 cm and read out loud.

5

Assistant, holding head in place, repeats the measurement for verification.

6If child is 2 years or older or 87 cm or above standing up, subtract 0.7 cm from measurement.

Measure Using Height Board [2 years or older OR height 87 cm or greater]

1Place child on height board, standing upright in middle of board with arms at his/her sides.

2Child’s feet, with shoes removed, should be close together with heels flat on floor.

- 3Child’s ankles and knees should be firmly pressed against board.

4Child’s heels, back of legs, buttocks, shoulders and head should be touching back of board.

5Measurer holds child’s head straight. A line between child’s eyes should be parallel to the floor.

- 6Measurer reads measurement out loud to nearest 0.1 cm.

- 7Assistant, holding child’s legs and feet, repeats the measurement for verification.

- 8Measurer records height to nearest 0.1 cm.

Weigh Using Electronic Scale (Solar)                     [All ages]

*“Tared weighing” means that the scale can be re-set to zero (“tared”) with the person just weighed still on it. Stress that the mother must stay on the scale until her child has been weighed in her arms.  If the child is 2 years or older, you will weigh the child alone if the child will stand still.

1Be sure that the scale is placed on a flat, hard, even surface. Since the scale is solar powered, there must be enough light to operate the scale.

2To turn on the scale, cover the solar panel for a second. When the number 0.0 appears, the scale is ready.

3Check to see that the mother has removed her shoes. You or someone else should hold the naked baby wrapped in a blanket.

4Ask the mother to stand in the middle of the scale, feet slightly apart (on the footprints, if marked), and remain still. The mother’s clothing must not cover the display or solar panel.

5Remind her to stay on the scale even after her weight appears, until the baby has been weighed in her arms.

6With the mother still on the scale and her weight displayed, tare the scale by covering the solar panel for a second. The scale is tared when it displays a figure of a mother and baby and the number 0.0.

7 Gently hand the naked baby to the mother and ask her to remain still.

8 The baby’s weight will appear on the display. Record the weight. Be careful to read the numbers in the correct order (as though you were viewing while standing on the scale rather than upside-down).

Weigh Using Hanging Scale (Pants)           [Under 5]

*The scale should be checked daily against a known weight. To do this, set the scale to zero and weigh objects of known weight (e.g., 5.0 kg, 10.0 kg, 15.0 kg). If the measure does not match the weight to within 10 grams the springs must be changed or the scale should be replaced.

1The scale can be hooked to a rope on the ceiling or stand in a clinic, at eye level of the measurer.

2Before weighing the child, take all his/her clothes off.

3Make sure the weighing scale arrow is at 0 (zero the scale) with the weighing pants hooked on the scale.

4Place child in weighing pants and let child hang freely, touching nothing. Make sure the child is safely in the weighing pants with one arm in front and one arm behind the straps to help maintain balance.

5When arrow is steady, measurer reads child’s weight in kg at eye level and to the nearest 100 g (for example: 6.4 kg).   The assistant repeats it for verification and records it. The child is then dressed.

Weigh Using Hanging Scale (Bucket)                        [What age?]

1The scale can be hooked to a rope on the ceiling or stand in a clinic, at eye level of the measurer.

2Before weighing the child take all his/her clothes off.

3Make sure the weighing scale arrow is at 0 with the bucket hooked on the scale

4Place child in weighing bucket.

5When arrow is steady, measurer reads child’s weight in kg at eye level and assistant records it to nearest 100 g (for example: 5.2kg)

Weigh Using Hanging Scale (Hammock or Cloth) [Infants]

*The scale should be checked daily against a known weight. To do this, set the scale to zero and weigh objects of known weight (e.g., 5.0 kg, 10.0 kg, 15.0 kg). If the measure does not match the weight to within 10 grams the springs must be changed or the scale should be replaced.

1The scale can be hooked to a rope on the ceiling or stand in a clinic, at eye level of the measurer.

2Before weighing the child, take all his/her clothes off.

3Make sure the weighing scale arrow is at 0 (zero the scale) each time with the hammock or cloth that will be used hooked on the scale.

4Place child in hammock or cloth, hook it on the scale, and let child hang freely, touching nothing. Make sure the child is safely in the hammock or cloth.

5When arrow is steady, measurer reads child’s weight in kg at eye level and to the nearest 100 g (for example: 6.4 kg).   The assistant repeats it for verification and records it. The child is then dressed.

When arrow is steady, measurer reads child’s weight in kg at eye level and assistant records it to nearest 100 g (for example: 5.2kg)